

Abstract-- This paper describes a decade of work on digital imaging for museums. Starting in 1989, the VASARI project produced a digital imaging system that makes colour-calibrated, 20000 by 20000 pixel images directly from paintings. It uses seven colour-separation bands, resulting in an average colour error of around 1 E unit. Subsequent projects have used these images for monitoring the condition of paintings, documenting paintings during conservation treatment, including predicting appearance after cleaning, and reconstructing the original appearance of paintings in which pigments have faded. These high-resolution images have also been used to assess whether paintings have been damaged during transportation and in attempts to estimate the reflectance spectra of pigments. Related work has developed infrared and X-ray imaging. To manage the images produced by the VASARI system, an image-processing package has been developed that is tailored for very large colorimetric images; this system forms the basis of a remote image viewer designed to provide internet access. The paper explores these developments, and includes details of the current generation of VASARI-derived systems set in the context of the state-of-the-art for museum imaging.

10 years of art imaging research

Kirk Martínez, David Saunders, John Cupitt

Index Terms-- imaging, image processing

# Introduction

Towards the end of the 1980s digital imaging was developing at a rapid pace. New devices, particularly CCDs, with higher resolution and quality were making it possible to think about replacing conventional photography with direct digital imaging. This paper summarises roughly a decade of work on developing high quality imaging systems especially relating to the imaging of fine art. The systems were specifically built for imaging paintings in museums and galleries, however the techniques used are widely applicable. Experience was drawn from a wide range of fields: optics, mechanical engineering, image processing, colour science, computer science and painting conservation.

Conventional photography of art captures fine detail; the resolution of large-format 10x8" film is very high (about one Gigabyte equivalent) but the colour accuracy and permanence is poor. Digital imaging promised higher quality and permanence but it was not clear how the high resolution would be obtained. Imaging devices were limited to around 1000x1000 pels for arrays or 4096x1 for linear sensors whereas resolutions of around 20,000x 20,000 were required. Colour science would provide a way of measuring colour in a standard way and an understanding of colour differences. By storing digital images in a CIE colour space they are more standardised than typical RGB and device independent. Images can be taken in years to come using different hardware and still be comparable.

## The VASARI Project

In 1989 we were part of a group interested in exploring the limits of digital imaging and started a European project called VASARI: Visual Arts System for Archiving and Retrieval of Images. The main aim was to produce an imaging system of sufficient quality to replace conventional photography of fine art. It was also hoped that the system could acquire spectral information directly from paintings, over the whole surface. Previously researchers had only been able to make spot measurements of colour using a spectrometer. The final results included two scanners and calibrated CIE Lab output rather than spectra. The first scanner was installed in the National Gallery in London and the second slightly larger one in the Doerner Institute in Munich. Several improvements have been made since then as well as an additional scanner in Florence.

It was determined early on at the design stage that the scanner should operate in a vertical plane rather than horizontally as in the inspirational system designed to scan the declaration of independence in Washington [ref]. This would help to prevent accidental damage to the paintings as well as maintain their normal position. Also rather than using precise robotics and a line imager, rectangular image areas would be acquired and a stitching technique developed to join them. This software stitching was also expected to compensate for other mechanical and optical distortions.

The resolution required by such a system was not clear at the start of VASARI. To replace 10x8" transparencies a calculation based on their resolving power (40 line pairs per mm resolving power for film gives around 20000 samples per 10") could be used to set a resolution of around 20k x 20k. Studies of the sizes of cracks in paintings using X-radiographs seemed to confirm that the closer the study the more that could be seen: paintings are fractal in their nature. Cracks measuring around 0.1mm are common, but they often have smaller cracks attached. A major factor is the MTF of lenses. A good medium format lens only provides around 15k x 15k resolution equivalent in the centre of the field, so in fact some cameras are limited more by the lens than sensor.

There was certainly scepticism about the large file sizes envisaged in VASARI. 20k x 20k x 3 bytes was already over 1GB and the team were talking about multispectral 12 bit data. Fortunately we were consoled by the fact that storage size and processing power progresses at a fast rate. It was decided that the system should be capable of acquiring at least 12 pels/mm as well as 2-3 times this.

A high-resolution camera was chosen: the Kontron Progres 3012 which provides around 3k x 2k resolution. A camera with low resolution would generate too many patches to stitch together, resulting in accumulated errors. The current versions use 12 bits A/D conversion in the camera body, with a non-cooled CCD. In order to move the camera a known distance in pels, the resolution in pels per millimetre is measured by moving the camera known distances and finding an edge on a target. The scanner can then move the camera to provide an array of patches overlapping by around 200 pels. The overlaps are correlated later to provide an exact join of the patches. [REF SPIE paper] The lens was selected to reduce geometric distortion and focus light across the spectrum at the same point. Figure ? shows the National Gallery's scanner.

Many other calibration steps remove non-uniformities due to variations in dark-current and sensitivity of the CCD sensor. In the VASARI scanners, the lights move with the camera, providing a consistent illumination pattern. The illumination non-uniformities are removed using an image of a smooth white PTFE target. This also helps compensate for variations in sensor gain.

The colour accuracy was obtained by using more than three filters and it was hoped that colour errors could be as low as 1 CIELab E. The conventional film imaging the system was expected to replace has average errors much higher than this but the aim in VASARI was to achieve as low an error as possible under reasonable conditions. These included a low illumination (< 1000 Lux ) and fast capture as paintings can not be left in a scanner for longer than an afternoon for example.

The filters were placed in the lighting system in order to avoid focussing problems if used in the camera. A system of fibre-optic light-guides was used to provide six adjustable light sources quite close to the painting. Another advantage of this approach was that painting was not completely exposed to light all the time. ENST carried out some simulations using spectra of known pigments and produced sets of idealised filters tuned to paintings. Studies were also made of the number of bits required per sample, concluding that 8 bits was insufficient, 10 bits was reasonable but 12 bits was ideal. Fewer bits/pel lead to quantisation steps larger than one just noticeable difference (or 1 E).

Unfortunately the ideal filters calculated theoretically were not practical or affordable so narrow band gaussian filters were evaluated and chosen instead. Very narrow filters with low transmission were not used because of the necessity for more light. Medium widths of 70nm were finally selected at 50nm intervals so seven filters covered the 400-700nm wavelength range. Using many narrow band filters also made the system more capable of separating metameric colours.

In the London scanner the lighting system comprises two 250W tungsten-halogen bulbs merged with fibre light-guides into a filter wheel and finally out to six output light-guides to illuminate the capture area. The design used flexible light-guide supports, which provided a wide range of possible illumination patterns, all of which require patience to set up.

Figure 1 Vasari lighting system

## Colour calibration

At the start of every capture session an image is taken of various calibration targets set up permanently on the easel. These include a smooth white used to correct the non-uniform illumination. A Macbeth ColorChecher Chart with precisely measured spectra is imaged to generate the calibration matrix. A small line is also imaged twice in different horizontal positions in order to measure the resolution in pels/mm.

The colour calibration principle is simple in theory. The camera response is a sum of many fixed factors such as the sensitivity of the CCD, transmission of the optics, illuminant spectrum as well as the unknown object reflectance spectrum.

What is required is the CIE XYZ values, which are three sums of the other spectral, and so become part of a simpler equation.  The linearised camera data c from the colour chart is used with the known colour chart CIE XYZ values v to solve for the unknown factors F as shown in equation 1:

c  =F.vF  = CTC-1CTVT

This last part shows the matrix pseudo-inverse which provides the least-mean-square errors solution and has been described in more detail elsewhere [SPIE1901]. The result is that colour chart colours are calibrated very well, while others are less precise. The CIE XYZ space is not uniform visually so the significance of errors depends on where they are. A more recent improvement minimises the errors in CIE Lab space afterwards by iterative small adjustments, which spreads the errors more evenly. Once the calibration matrix F is known it is applied to all the camera images to obtain CIE XYZ colour values, which are usually converted to CIE Lab.

[NEW RUVEN CALIB - peparami, minimise wrt Lab + sdev, flare corect]

The calibration system was recently overhauled and a multi-stage

calibration introduced.

CIE XYZ is not visually uniform and so the errors in a calibration based in

XYZ space will not look evenly distributed.  The second stage, therefore,

seeks to minimize the dE in CIE LAB space.  This is non-linear with respect to

camera input and so an iterative minimisation routine based on Powell's

peperami is employed, using the LMS result in XYZ space as a starting point.

A further problem concerns the limited number of reference targets (24 colour

patches) in the MacBeth colour chart.  This also results in an uneven

distribution of error throughout the colourspace.  Thus, the iterative

minimisation routine seeks to minimize a function which is a combination of

both the dE in LAB space and the standard deviation of the errors.

Optical scatter is another area that has been addressed.  Because the camera

optics scatter light onto the sensor, a calibration result based on a target

under a particular level of illumination will not be valid under different

illumination levels.  This is only an issue because VASARI images consist

of a mosaic of frames, which can be of greatly differing brightness, resulting

in very obvious joins.

Investigation has revealed that this optical scattering is approximately

linear with respect to the average level of illumination. Thus, this can be

modelled by the following equation:

Resultant camera pixel value = Light from object +

( Mean illumination x Scatter Coefficient )

By measuring patches of equal reflectance under the same lighting against

backgrounds of differing reflectance, the scatter coefficient can be deduced.

Because we know the average pixel value over each frame, this scatter can

be corrected for.

This has greatly improved the resulting mosaics for paintings which contain

both very dark and very bright areas.  Further work may seek to improve this

further with a more accurate non-linear model.

12 filter stuff????????????

FADING

The National Gallery has colour measurement data from pigments that have been

artificially faded.  Using this data, a model can be derived of their fading

behaviour.  This has been applied to images of paintings with areas of pigment

fading to simulate their original condition and how they have deteriorated

over time.

## Vasari scanner Improvements

A much simpler GUI has recently been made for the VASARI scanner which makes it useable by a non-specialist. This was inspired by the simple interface made for the later MARC camera described below. Other developments increased the scanning speed over the years. Initially a PC with an AT bus card was used for the camera, with an Ethernet connection to the controlling SUN. The current system uses an SBUS interface card in the SUN, which is also considerably faster (16MHz 68020 to 50 MHz SPARC to 167MHz UltraSPARC). The disk system improvements also make a noticeable difference due to the mass of data handled. Mass storage was a shelf of DATs read at 140 kB/s and is now an NSM CD-R jukebox.

## VASARI Results

The image stitching was highly successful, with no visible joins and the illumination correction provided a seamless brightness across the images. The Progres camera is deliberately band-limited so its highest resolution requires sharpening to compensate. The average colour error using a MacBeth chart is now consistently around 1 CIELab E. Suddenly there was the capability to carry out image-wide comparisons and colorimetric experiments which are reported later. The scanner in the National Gallery has imaged around 100 paintings so far and these probably remain the highest accuracy collection of art images. The VASARI image processing system VIPS [VIPSREF] was produced specifically to handle large images and is still in use today. It was subsequently used in all the follow-on projects. Figure 1 shows a large image being viewed in VIPS/ip. Although the file is around 1Gbyte the views seen pop up in under 2 seconds because only the parts viewed are loaded by the virtual memory manager. Any area can be seen within 1s and colour readings taken at any point with the mouse.

[screendump here]

## MARC

In 1992 the European MARC project (Methodology for Art Reproduction in Colour) concentrated on perfecting the path from accurate imaging to accurate printing: from the painting on the wall to the printed page. It also designed a new scan-back camera which was capable of high resolution while being more portable and faster. It was expected that the use of a more conventional RGB filter set would compromise colour accuracy slightly but be appropriate for most printing purposes as the errors introduced there are greater. Using conventional photographic lights made the system more familiar with photographers as well as more flexible.

The new camera was designed and built by Udo and Reimar Lenz in the Technical University in Munich while the camera software was developed in London by the authors. It used a similar masked CCD as in their Progres cameras but also had a macro-scan in order to cover the image plane of a large format camera (Bronica). The CCD has 500x582 elements with small (6m), widely separated (11x17m) sensor sites. Piezo-transducers used for microscanning in the Progres cameras were dispensed with and the microscope translating stage stepper-motors used for both macro and micro-scanning.

Each of the 7x9 patches has an overall gain characteristic due to the variations in angle of the incident light, especially noticeable at the edges of the image. To compensate for this a full-field calibration target is used.

A quantised CIE Lab standard was made for the final calibrated images in order to avoid using 16 bits for each component. Tests showed that the 8 bits per channel commonly used can lead to contouring when printed. This led to the MARC project standard (LabQ) of 10 bits for L and 11 bits for each of a and b, producing an efficient 32 bit colour value for use in display and printing. The ten bits for L may seem low given the initial twelve bits per channel but L is more visually linear than RGB. Calibrated images are stored in a LabQ VIPS image file uncompressed, while the raw source data is stored losslessly compressed for reference.

## MARC results

The camera has a resolution of 20k x 20k and can capture this image in around 30 minutes depending on the integration time used. The average CIELab E for a macbeth chart is around 3 and the images look almost indistinguishable from those obtained by the VASARI scanners except that the lighting is more conventional.

[image of camera]

[do we need macro-micro scan pic???]

[mention Lenz bros new cameras? - new refs?]

As in VASARI the computational effort required to stitch an image together and calibrate it is considerable, taking far longer than the capture time: aprox 1.5hrs.

A printing press in Switzerland (Schwitter) was calibrated and a complete book produced from MARC images as proof of the project's success. [marcbookref?] The calibration throughout the chain meant that proofing was not required and the images in the book are consistent an remarkably similar to the originals.

## Viseum: putting the images on the Web

In 1996 the Viseum project worked on a client-server system [WEBREF] to allow the large images produced in previous work to accessible over the Web. Downloading complete images, even compressed, is unacceptable even on a LAN due to the memory requirements at the client. Our solution uses the Internet Imaging Protocol (IIP) with extensions to allow a Java client in a normal Web browser to fetch image tiles (64x64 pels) in JPEG sRGB [REF?] format for display. IIP standardises the way that programs request images from a server so that an IIP-aware browser can look at servers from different vendors. A multiresolution TIFF file is used with full, half, quarter etc resolutions stored as tiled JPEG images. Each resolution is stored as a separate image with tiles of 64x64 JPEG compressed. By only fetching the tiles necessary for the specific view required at any one time the system is useable over the internet at low bandwidths. It was also possible for the C server to convert LabQ uncompressed images on the fly. A monitor colour profile (ICC) server maintains profiles on an ip address basis so that images could be transformed specifically for the user's monitor rather than to sRGB.

## Applications

Long term colour change

Insufficient time has passed to rescan a painting which may have changed. However objects which have been artificially aged have been imaged to help to model the fading process. Using the fading data complete images have been processed in such a way as to simulate their original appearance. This is a complex process which has not been perfected due to the range of unknown factors involved. [JOHN???? HELP!]

The Doerner Institute imaged a painting before and after it was transported to a special exhibition. They used a crack detection program to highlight where there may be changes and found some small changes.

Bef/after cleaning

One interesting application has been to image paintings before and after restoration. The colour differences measured show that cleaning does not simply change all colours in the same way. Instead a range of changes have been found which depend on the pigment chemistry and its reflectance.

Spec reconstruct.

[JOHN?]

## Conclusions

TO DO LAST! - anyone?

## Acknowledgements

The MARC and VASARI projects were funded by the European Commission’s ESPRIT programme. VASARI involved: The Doerner Institute, Munich; Brameur Ltd. (UK); Birkbeck College London, Telecom Paris/ENST; Thomson-CSF LER, Rennes (F); TÜV-Bayern, Munich (D). The ESPRIT III project MARC involved: Thomson Broadband Systems, The National Gallery, Birkbeck College, The Doerner Institute Munich, Crosfield Ltd (UK), Hirmer Verlag (D) and Schwitter (Switzerland).

The new VASARI scanner GUI was written by Ruven Pillay while at the National Gallery funded by HP-Labs.

Thanks to Barco for advice and monitor models for colour display as well as support for their Calibrator.

## References

K. Martinez, J. Cupitt, D. Saunders, “High resolution colorimetric imaging of paintings”, Proceedings of the SPIE, Vol.  1901,  pp 25-36, Jan 1993.

-------- stock---------

. N. Ohta, “Colorimetric Analysis in the Design of Color Films: A perspective”, Journal of imaging science and technology, Vol. 36, No. 1, 1992.

. C. S. McCamy, H. Marcus and J. G. Davidson, “A color-Rendition Chart”, Journal of Applied Photographic Engineering, Vol. 2, No. 3, 1976.

C. Lahanier, G. Aitken, M. Aubert, “Narcisse: bonne résolution pour l’étude des peintures”, TECHNÈ, Vol. 2, pp 178-190, 1995.

. K. Martinez, J. Cupitt, D. Saunders, “High resolution colorimetric imaging of paintings”, Proc. SPIE, Vol.  1901,  pp 25-36, Jan 1993.

Commission Internationale de l'Éclairage, “Recommendations on uniform color spaces, color difference equations, psychometric color terms”, Supplement No.2 to CIE Publication No.15 (E-2.3.1), 1971/(TC-1.3), 1978.

. H. Derrien, “MARC, a new methodology for art reproduction in colour”, Information Services & Use, Vol. 13, No. 4, pp 357-369, 1993.

. J. Cupitt, K. Martinez, “Image processing for Museums”, in Interacting with images, eds L. MacDonald and J. Vince, pp 133-147, John Wiley, 1994.

. R. Lenz, R. Beutelhauser and U. Lenz, “A microscan/macroscan 3x12 bit digital color CCD camera with programmable resolution up to 20,992 x 20,480 picture elements”, in Proc. of the Commission V Symposium Close range techniques and machine vision, Melbourne, Australia, Intl. Archives of Photogrammetry and Remote Sensing, Vol. 30, part 5, 1-4 March 1994.

J. Cupitt and K. Martinez, “VIPS: An Image Processing System for Large Images”, Proc. IS&T/SPIE Symposium on Electronic Imaging: Science and Technology, Very High Resolution and Quality Imaging, Vol. 2663, Jan. 1996.

. D. Saunders and J. Cupitt, “Elucidating Reflectograms by superimposing Infra-red and Colour images”, National Gallery Technical Bulletin, Vol. 16, pp 61-65, 1995

. A. Burmester, J. Cupitt, H. Derrien, N. Dessipris, A. Hamber, K. Martinez, M. Müller, D. Saunders, “The examination of paintings by digital image analysis”, Proc. 3rd International Conference on non-destructive testing, microanalytical methods and environment evaluation for study and conservation of works of art,  Viterbo, Italy, pp 201-214, Oct. 1992.

K. Martinez, J. Cupitt, and S. Perry. High resolution Colorimetric Image Browsing on the Web, Computer Networks and ISDN Systems, Vol. 30, pp 399-405, 1998.

 Electronics and Computer Science Dept. University of Southampton

Ecole National Superieure de Telecomunication, Paris.